## Yearly Summary
2010 |  | BWPF Yearly Summary Static Data Flow Total Report
|  | Gross Plant Influent Flows |  |  | Gross Filter Production |  | Adsorber Production | Flows to CCB |  |  | Filter Backwash and Waste Flows |  |  | Flow Calculated Blend Ratios |  | Recycle Flows |  |  | Sludge Flows |  | NaOH Motive Water
|  | Gross AR to Process | Gross SP to Process | Total Gross to Process | AR Filter Effluent Flow | SP Filter Effluent Flow | Adsorber Flow | Eductor & Motive to CCB | AR Net to Distribution | SP Net to Distribution | Total Backwash Flow | Total Filter to Waste | Total Adsorber to Waste | AR/Total Blend Ratio | SP/Total Blend Ratio | Recycle to AR | Recycle to SP | Total Recycle | Floc-Sed Sludge | Softening Sludge | W1, SH Motive Water
Monthly Daily Averages (MG) | January
February
March
April
May
June
July
| August | 4.7414 | 0.38662 | 5.1281 |  |  |  |  | 3.184 |  | 0.010611 |  |  |  |  | 0.186 |  | 0.186 | 0.012232 | 3.0487e-06 | 0.01501
| September | 8.8359 | 3.9537 | 12.7897 | 0.19362 | 0.083521 | 0.085828 |  | 7.4369 | 0.86187 | 0.18847 | 0.00029753 |  | 0.69863 | 0.30137 | 0.11955 | 0.21686 | 0.33641 | 0.084948 | 0.014308 | 0.017256
| October | 7.5479 | 2.6879 | 10.2358 | 6.737 | 2.6552 | 2.9059 | 0.093471 | 6.6761 | 2.6304 | 0.08475 | 0.058127 | 0.00099175 | 0.72113 | 0.27887 | 0.46068 | 0.22261 | 0.68329 | 0.18732 | 0.017145 | 0.017157
| November | 9.1773 | 2.7449 | 11.9222 | 8.4979 | 2.7347 | 2.9206 | 0.11773 | 8.4131 | 2.7068 | 0.1111 | 0.078457 | 0.0015829 | 0.75573 | 0.24427 | 0.53156 | 0.2561 | 0.78766 | 0.33401 | 0.0028412 | 0.016862
| December | 6.8065 | 1.98 | 8.7865 | 6.5248 | 1.9635 | 2.2064 | 0.063344 | 6.4602 | 1.9432 | 0.082708 | 0.026123 | 0.0021361 | 0.76836 | 0.23164 | 0.00047329 | 0.39717 | 0.39764 | 0.20578 | 0.016323 | 0.015543
Daily Avg | Year | 7.4218 | 2.3506 | 9.7724 | 5.4883 | 1.8592 | 2.0297 | 0.091514 | 6.4341 | 2.0356 | 0.095529 | 0.040751 | 0.0015703 | 0.73596 | 0.26404 | 0.25965 | 0.27319 | 0.4782 | 0.16486 | 0.010124 | 0.016366
Monthly Flow Totals (MG) | January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| July | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
| August | 9.4829 | 0.77324 | 10.2561 | 0 | 0 | 0 | 0 | 6.3681 | 0 | 0.021222 | 0 | 0 |  |  | 0.372 | 0 | 0.372 | 0.024464 | 6.0974e-06 | 0.030021
| September | 265.0773 | 118.6123 | 383.6896 | 5.8086 | 2.5056 | 2.5749 | 0 | 223.1076 | 25.856 | 5.6542 | 0.0089259 | 0 |  |  | 3.5864 | 6.5059 | 10.0923 | 2.5485 | 0.42923 | 0.51768
| October | 233.9859 | 83.3249 | 317.3108 | 208.8478 | 82.3111 | 90.0819 | 2.8976 | 206.9594 | 81.5415 | 2.6272 | 1.802 | 0.030744 |  |  | 14.2812 | 6.901 | 21.1821 | 5.8069 | 0.53149 | 0.53186
| November | 275.3201 | 82.346 | 357.6661 | 254.938 | 82.04 | 87.6189 | 3.5318 | 252.392 | 81.2054 | 3.333 | 2.3537 | 0.047487 |  |  | 15.9467 | 7.6831 | 23.6297 | 10.0204 | 0.085236 | 0.50587
| December | 211.0002 | 61.3809 | 272.3811 | 202.2673 | 60.8679 | 68.3975 | 1.9637 | 200.2656 | 60.2394 | 2.5639 | 0.80982 | 0.06622 |  |  | 0.014672 | 12.3123 | 12.3269 | 6.3792 | 0.50601 | 0.48183
Flow Total | Year | 994.8663 | 346.4374 | 1341.3037 | 671.8617 | 227.7246 | 248.6731 | 8.393 | 889.0927 | 248.8423 | 14.1996 | 4.9744 | 0.14445 |  |  | 34.2009 | 33.4022 | 67.6031 | 24.7793 | 1.552 | 2.0673
Note on F2: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on C3: Peter Bong: Includes Recycle
Note on D3: Peter Bong: Includes Recycle
Note on E3: jamoore: All combined flows to be treated.
Note on I3: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on J3: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on K3: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on O3: jamoore: These are calculated blend percentages derived from finshed water flows.
Note on P3: jamoore: These are calculated blend percentages derived from finshed water flows.
Note on A4: jamoore: The monthly daily averages for each category are null if there is no measured flow in the month. Null values are not calculated in the average.

## January
2010-01-01 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on A4: jamoore: Change only this cell when starting a new year. All other tabs will update.
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## February
2010-02-01 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## March
2010-03-04 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## April
2010-04-04 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## May
2010-05-05 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## June
2010-06-05 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## July
2010-07-06 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
Month Avg
Month Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## August
2010-08-06 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
2010-08-30 | 0 | 0 | 0 | 4.4374 | 0.0011293 | 4.4385 | 0.012179 | 3.0487e-06 | 0.014062 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.755 | 0
2010-08-31 | 0.372 | 0 | 0.372 | 5.0455 | 0.77211 | 5.8176 | 0.012285 | 3.0487e-06 | 0.015959 | 0 | 0 | 0 | 0 | 0 | 0.021222 | 0 | 0 | 0 | 4.6131 | 0
Month Avg | 0.186 |  | 0.186 | 4.7414 | 0.38662 | 5.1281 | 0.012232 | 3.0487e-06 | 0.01501 | [5 empty] | 0.010611 |  |  |  | 3.184
Month Total | 0.372 | 0 | 0.372 | 9.4829 | 0.77324 | 10.2561 | 0.024464 | 6.0974e-06 | 0.030021 | 0 | 0 | 0 | 0 | 0 | 0.021222 | 0 | 0 | 0 | 6.3681 | 0
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## September
2010-09-06 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
2010-09-01 | 0.52274 | 0 | 0.52274 | 5.51 | 2.4933 | 8.0032 | 0.012136 | 2.516e-05 | 0.018437 | 0 | 0 |  |  | 0 | 0.43501 | 0 | 0 | 0 | 4.7746 | 0
2010-09-02 | 0.53069 | 0 | 0.53069 | 5.3321 | 3.8746 | 9.2068 | 0.012269 | 0.0010255 | 0.018482 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 4.7258 | 0
2010-09-03 | 0.52404 | 0 | 0.52404 | 6.3946 | 3.9927 | 10.3872 | 0.012217 | 0.00048438 | 0.018454 | 0 | 0 |  |  | 0 | 0.33291 | 0 | 0 | 0 | 5.6233 | 0
2010-09-04 | 0.42371 | 0 | 0.42371 | 5.116 | 3.9894 | 9.1053 | 0.012074 | 0.00049532 | 0.018458 | 0 | 0 |  |  | 0 | 0.46127 | 0 | 0 | 0 | 3.5175 | 0
2010-09-05 | 0 | 0 | 0 | 5.0339 | 4.0151 | 9.049 | 0.011954 | 0.00048986 | 0.01842 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 4.2741 | 0
2010-09-06 | 0 | 0 | 0 | 5.3836 | 4.0151 | 9.3987 | 0.011892 | 0.00057752 | 0.018315 | 0 | 0 |  |  | 0 | 0.67527 | 0 | 0 | 0 | 4.0916 | 0
2010-09-07 | 0.010675 | 0.16713 | 0.1778 | 5.4826 | 3.9793 | 9.4619 | 0.011781 | 0.00054959 | 0.017613 | 0 | 0 |  |  | 0 | 0.28196 | 0 | 0 | 0 | 4.774 | 0
2010-09-08 | -0.01117 | 0.51698 | 0.50581 | 5.3246 | 3.9949 | 9.3195 | 0.011749 | 0.00047628 | 0.016774 | 0 | 0 |  |  | 0 | 0.28323 | 0 | 0 | 0 | 4.3543 | 0
2010-09-09 | -0.0089399 | 0.48988 | 0.48094 | 5.4746 | 3.9993 | 9.4739 | 0.011898 | 0.00089015 | 0.016797 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 5.0481 | 0
2010-09-10 | -0.0021764 | 0.43918 | 0.437 | 5.4232 | 3.9116 | 9.3347 | 0.012042 | 0.0012948 | 0.016783 | 0 | 0 |  |  | 0 | 0.298 | 0 | 0 | 0 | 4.7521 | 0
2010-09-11 | -0.0030045 | 0.41841 | 0.4154 | 5.8484 | 4.1023 | 9.9508 | 0.037676 | 0.0012945 | 0.016812 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 5.0378 | 0
2010-09-12 | -0.0027994 | 0.42499 | 0.42219 | 5.4884 | 4.0122 | 9.5006 | 0.022253 | 0.0012403 | 0.0168 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 5.0353 | 0
2010-09-13 | -0.0019029 | 0.4068 | 0.4049 | 8.4831 | 3.9849 | 12.468 | 0.03063 | 0.00093064 | 0.016649 | 0 | 0 |  |  | 0 | 0.4024 | 0 | 0 | 0 | 7.0855 | 0
2010-09-14 | -0.001559 | 0.39186 | 0.3903 | 10.5536 | 3.99 | 14.5435 | 0.09789 | 0.0008757 | 0.016797 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 10.0748 | 0
2010-09-15 | -0.00059665 | 0.24856 | 0.24796 | 10.5842 | 3.9188 | 14.503 | 0.11609 | 4.5642e-05 | 0.016873 | 0 | 0 |  |  | 0 | 0.21898 | 0 | 0 | 0 | 9.9802 | 0
2010-09-16 | 0 | 0 | 0 | 10.6067 | 3.9971 | 14.6038 | 0.11091 | 0.0015634 | 0.016755 | 0 | 0 |  |  | 0 | 0.39836 | 0 | 0 | 0 | 9.8091 | 0
2010-09-17 | 0 | 0 | 0 | 13.3853 | 3.9924 | 17.3778 | 0.15027 | 5.0494e-05 | 0.016806 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 10.201 | 0
2010-09-18 | 0 | 0 | 0 | 15.6093 | 3.97 | 19.5793 | 0.14024 | 5.0953e-05 | 0.017009 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 10.2059 | 0
2010-09-19 | 0 | 0 | 0 | 15.6314 | 4.0269 | 19.6583 | 0.15038 | 5.0713e-05 | 0.016947 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 10.1945 | 0
2010-09-20 | 0 | 0 | 0 | 13.6563 | 4.0089 | 17.6652 | 0.17349 | 0.015791 | 0.016849 | 0 | 0 |  |  | 0 | 0.57082 | 0 | 0 | 0 | 8.8294 | 0
2010-09-21 | 0.009238 | 0 | 0.009238 | 14.1501 | 4.1081 | 18.2582 | 0.13296 | 0.094988 | 0.016902 | 0 | 0 |  |  | 0 | 0.42985 | 0 | 0 | 0 | 10.8899 | 0
2010-09-22 | 0 | 0 | 0 | 11.4652 | 3.9981 | 15.4633 | 0.12372 | 0.018378 | 0.017019 | 0 | 0 |  |  | 0 | 0.46948 | 0 | 0 | 0 | 10.05 | 0
2010-09-23 | 0 | 0 | 0 | 8.4926 | 4.2387 | 12.7313 | 0.12382 | 0.034764 | 0.016935 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 8.0186 | 0
2010-09-24 | 0.30661 | 0 | 0.30661 | 8.9314 | 4.0303 | 12.9617 | 0.21668 | 0.079958 | 0.017046 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 8.087 | 3.633
2010-09-25 | 0.60721 | 0 | 0.60721 | 9.1043 | 4.0222 | 13.1265 | 0.12376 | 0.025236 | 0.017038 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 8.082 | 3.631
2010-09-26 | 0.59854 | 0 | 0.59854 | 9.1176 | 3.9043 | 13.0219 | 0.12382 | 0.029401 | 0.016904 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 8.195 | 3.513
2010-09-27 | 0.21188 | 0.39325 | 0.60513 | 8.7287 | 4.0509 | 12.7796 | 0.12371 | 0.02946 | 0.017201 | 0 | 0 |  |  | 0 | 0.018724 | 0 | 0 | 0 | 8.029 | 3.779
2010-09-28 | -0.048214 | 0.85882 | 0.81061 | 8.7281 | 3.9825 | 12.7106 | 0.12346 | 0.025902 | 0.017257 | 0 | 0 |  |  | 0 | 0.37792 | 0 | 0 | 0 | 8.019 | 3.603
2010-09-29 | -0.043664 | 0.97214 | 0.92848 | 11.1676 | 4.0002 | 15.1678 | 0.12772 | 0.020924 | 0.017329 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 10.717 | 3.766
2010-09-30 | -0.03493 | 0.77793 | 0.743 | 10.8699 | 4.0084 | 14.8783 | 0.17898 | 0.042019 | 0.017218 | 5.8086 | 2.5056 | 0.69863 | 0.30137 | 2.5749 | 0 | 0.0089259 | 0 | 0 | 10.631 | 3.931
Month Avg | 0.11955 | 0.21686 | 0.33641 | 8.8359 | 3.9537 | 12.7897 | 0.084948 | 0.014308 | 0.017256 | 0.19362 | 0.083521 | 0.69863 | 0.30137 | 0.085828 | 0.18847 | 0.00029753 |  |  | 7.4369 | 0.86187
Month Total | 3.5864 | 6.5059 | 10.0923 | 265.0773 | 118.6123 | 383.6896 | 2.5485 | 0.42923 | 0.51768 | 5.8086 | 2.5056 | 0.69863 | 0.30137 | 2.5749 | 5.6542 | 0.0089259 | 0 | 0 | 223.1076 | 25.856
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## October
2010-10-07 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
2010-10-01 | -0.030752 | 0.63437 | 0.60362 | 8.4766 | 3.996 | 12.4726 | 0.12542 | 0.029566 | 0.017202 | 7.9999 | 3.9998 | 0.66667 | 0.33333 | 4.2 | 0.35233 | 0 | 0 | 0.094745 | 7.765 | 3.8824
2010-10-02 | -0.027204 | 0.61658 | 0.58938 | 8.4557 | 3.9998 | 12.4556 | 0.11602 | 0.026011 | 0.017148 | 8.0001 | 4.0001 | 0.66666 | 0.33334 | 4.2006 | 0 | 0 | 0 | 0.12032 | 8.0001 | 4.0001
2010-10-03 | -0.024913 | 0.62596 | 0.60104 | 8.4595 | 4 | 12.4595 | 0.12264 | 0.029697 | 0.017077 | 7.9999 | 3.9998 | 0.66668 | 0.33332 | 4.2003 | 0 | 0 | 0 | 0.11666 | 7.9999 | 3.9998
2010-10-04 | -0.022316 | 0.61276 | 0.59045 | 8.4616 | 3.9997 | 12.4614 | 0.1172 | 0.026011 | 0.017158 | 8.0003 | 3.9999 | 0.66668 | 0.33332 | 4.1998 | 0 | 0 | 0 | 0.11598 | 8.0003 | 3.9999
2010-10-05 | -0.018472 | 0.59995 | 0.58148 | 8.8876 | 4.0019 | 12.8895 | 0.12381 | 0.029786 | 0.017036 | 8.0768 | 4.0006 | 0.66875 | 0.33125 | 4.2001 | 0 | 0.35746 | 0 | 0.11461 | 8.0768 | 4.0006
2010-10-06 | -0.015891 | 0.61712 | 0.60123 | 8.4696 | 4.079 | 12.5487 | 0.11716 | 0.026159 | 0.017211 | 8.0005 | 3.9999 | 0.66669 | 0.33331 | 4.1998 | 0.2062 | 0 | 0 | 0.11781 | 7.863 | 3.9311
2010-10-07 | -0.016327 | 0.62336 | 0.60703 | 8.4774 | 4.0605 | 12.5379 | 0.12343 | 0.22617 | 0.017167 | 8.0002 | 3.7834 | 0.67893 | 0.32107 | 4.2 | 0.42819 | 0.19461 | 0 | 0.10901 | 7.7095 | 3.6459
2010-10-08 | -0.017351 | 0.61376 | 0.59641 | 8.455 | 3.9998 | 12.4548 | 0.11183 | 0.026376 | 0.017227 | 7.9991 | 3.4436 | 0.69906 | 0.30094 | 4.1999 | 0 | 0.49904 | 0 | 0.11652 | 7.9991 | 3.4436
2010-10-09 | -0.010887 | 0.62489 | 0.61401 | 8.4678 | 3.9917 | 12.4595 | 0.11678 | 0.016116 | 0.017191 | 7.9988 | 4.0001 | 0.66663 | 0.33337 | 4.1998 | 0 | 0 | 0 | 0.10881 | 7.9988 | 4.0001
2010-10-10 | -0.0074636 | 0.6039 | 0.59644 | 8.4678 | 3.9708 | 12.4386 | 0.11943 | 0.0058241 | 0.01715 | 8.0012 | 3.9995 | 0.66672 | 0.33328 | 4.1998 | 0 | 0 | 0 | 0.10344 | 8.0012 | 3.9995
2010-10-11 | -0.0069959 | 0.56156 | 0.55456 | 8.3861 | 3.1678 | 11.554 | 0.049566 | 0.019278 | 0.0172 | 7.95 | 3.1553 | 0.71588 | 0.28412 | 3.3743 | 0 | 0.050769 | 0.015559 | 0.069171 | 7.95 | 3.1397
2010-10-12 | 0.54426 | 0.16674 | 0.711 | 8.7641 | 1.9998 | 10.764 | 0.18384 | 0.011377 | 0.017242 | 7.9992 | 2.0001 | 0.79998 | 0.20002 | 2.2504 | 0 | 0 | 0 | 0 | 7.9992 | 2.0001
2010-10-13 | 0.86459 | 0 | 0.86459 | 7.979 | 1.9996 | 9.9786 | 0.16814 | 0.0088566 | 0.017267 | 7.1391 | 1.9994 | 0.78121 | 0.21879 | 2.1995 | 0.15631 | 0.0027759 | 0.0063814 | 0.042371 | 7.017 | 1.9588
2010-10-14 | 0.65813 | 0 | 0.65813 | 5.83 | 1.9806 | 7.8106 | 0.17065 | 0.008784 | 0.017257 | 4.7164 | 1.9998 | 0.70224 | 0.29776 | 2.2085 | 0.20948 | 0.20522 | 0 | 0.011974 | 4.5693 | 1.9375
2010-10-15 | 0.80599 | 0 | 0.80599 | 7.6749 | 1.9908 | 9.6658 | 0.1722 | 0.0078075 | 0.01724 | 6.7304 | 1.9998 | 0.77093 | 0.22907 | 2.2618 | 0 | 0 | 0.0088038 | 0.12539 | 6.7304 | 1.991
2010-10-16 | 0.72529 | 0 | 0.72529 | 6.8768 | 1.9502 | 8.827 | 0.18217 | 0.0029198 | 0.017243 | 5.9996 | 1.9302 | 0.75659 | 0.24341 | 2.2395 | 0.21718 | 0.0658 | 0 | 0.11122 | 5.8353 | 1.8773
2010-10-17 | 0.73909 | 0 | 0.73909 | 6.9485 | 1.9755 | 8.9239 | 0.21704 | 0.0031577 | 0.017197 | 5.9999 | 2.0002 | 0.74998 | 0.25002 | 2.2402 | 0 | 0 | 0 | 0.096076 | 5.9999 | 2.0002
2010-10-18 | 0.73918 | 0 | 0.73918 | 6.9271 | 1.9999 | 8.9271 | 0.16514 | 0.0013303 | 0.017222 | 5.9997 | 2 | 0.74999 | 0.25001 | 2.2412 | 0 | 0 | 0 | 0.10151 | 5.9997 | 2
2010-10-19 | 0.73014 | 0 | 0.73014 | 6.948 | 1.9779 | 8.9258 | 0.17129 | 0.001059 | 0.017149 | 5.9995 | 1.9999 | 0.74999 | 0.25001 | 2.2402 | 0 | 0 | 0 | 0.093198 | 5.9995 | 1.9999
2010-10-20 | 0.73939 | 0 | 0.73939 | 6.9926 | 1.9847 | 8.9774 | 0.20266 | 0.001768 | 0.017366 | 6 | 1.9999 | 0.75001 | 0.24999 | 2.242 | 0.32271 | 0 | 0 | 0.091972 | 5.758 | 1.9192
2010-10-21 | 0.73503 | 0 | 0.73503 | 6.9642 | 1.9764 | 8.9406 | 0.17764 | 0.0010576 | 0.017138 | 5.9998 | 2 | 0.74999 | 0.25001 | 2.2414 | 0 | 0 | 0 | 0.096142 | 5.9998 | 2
2010-10-22 | 0.75099 | 0 | 0.75099 | 7.1271 | 1.9711 | 9.0981 | 0.18253 | 0.001736 | 0.017129 | 6.006 | 1.9999 | 0.75019 | 0.24981 | 2.2412 | 0.22882 | 0.14546 | 0 | 0.10138 | 5.8343 | 1.9428
2010-10-23 | 0.74491 | 0 | 0.74491 | 7.128 | 1.9649 | 9.0929 | 0.35592 | 0.0010537 | 0.017135 | 6.0009 | 2.0008 | 0.74995 | 0.25005 | 2.2409 | 0 | 0 | 0 | 0.082527 | 6.0009 | 2.0008
2010-10-24 | 0.74628 | 0 | 0.74628 | 7.0641 | 1.9885 | 9.0526 | 0.27755 | 0.0010572 | 0.017064 | 5.9992 | 1.9999 | 0.74998 | 0.25002 | 2.2394 | 2.365e-05 | 0 | 0 | 0.091451 | 5.9992 | 1.9999
2010-10-25 | 0.73988 | 0 | 0.73988 | 6.975 | 1.9564 | 8.9315 | 0.20694 | 0.001667 | 0.017093 | 5.9994 | 2 | 0.74998 | 0.25002 | 2.2384 | 0.12834 | 0 | 0 | 0.09347 | 5.9031 | 1.9679
2010-10-26 | 0.60307 | 0 | 0.60307 | 5.3114 | 2.407 | 7.7184 | 0.17731 | 0.0014676 | 0.017055 | 4.3479 | 2.0001 | 0.68493 | 0.31507 | 2.2356 | 0 | 0.11436 | 0 | 0.069609 | 4.3479 | 2.0001
2010-10-27 | 0.56472 | 0 | 0.56472 | 5.7162 | 2.0989 | 7.8151 | 0.20084 | 0.00311 | 0.017056 | 4.0005 | 1.9999 | 0.66671 | 0.33329 | 2.2313 | 0 | 0 | 0 | 0.0992 | 4.0005 | 1.9999
2010-10-28 | 0.53671 | 0 | 0.53671 | 4.5995 | 1.9794 | 6.5789 | 0.24949 | 0.0030593 | 0.017053 | 3.9997 | 1.9999 | 0.66666 | 0.33334 | 2.2313 | 0 | 0 | 0 | 0.10447 | 3.9997 | 1.9999
2010-10-29 | 0.7224 | 0 | 0.7224 | 6.8057 | 1.9417 | 8.7474 | 0.30087 | 0.0028495 | 0.017056 | 5.8827 | 2 | 0.74628 | 0.25372 | 2.2294 | 0.37768 | 0.16646 | 0 | 0.072678 | 5.6009 | 1.9042
2010-10-30 | 0.89758 | 0 | 0.89758 | 8.9538 | 1.9703 | 10.9241 | 0.40034 | 0.0030605 | 0.017094 | 8 | 1.9997 | 0.80002 | 0.19998 | 2.2274 | 0 | 0 | 0 | 0.11147 | 8 | 1.9997
2010-10-31 | 0.89213 | 0 | 0.89213 | 8.935 | 1.9442 | 10.8792 | 0.40103 | 0.0033215 | 0.017037 | 8.0009 | 1.9995 | 0.80005 | 0.19995 | 2.228 | 0 | 0 | 0 | 0.11441 | 8.0009 | 1.9995
Month Avg | 0.46068 | 0.22261 | 0.68329 | 7.5479 | 2.6879 | 10.2358 | 0.18732 | 0.017145 | 0.017157 | 6.737 | 2.6552 | 0.72113 | 0.27887 | 2.9059 | 0.08475 | 0.058127 | 0.00099175 | 0.093471 | 6.6761 | 2.6304
Month Total | 14.2812 | 6.901 | 21.1821 | 233.9859 | 83.3249 | 317.3108 | 5.8069 | 0.53149 | 0.53186 | 208.8478 | 82.3111 | 22.355 | 8.645 | 90.0819 | 2.6272 | 1.802 | 0.030744 | 2.8976 | 206.9594 | 81.5415
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## November
2010-11-07 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
2010-11-01 | 0.89758 | 0 | 0.89758 | 8.9466 | 1.96 | 10.9066 | 0.40131 | 0.0036725 | 0.016995 | 8.0003 | 1.9996 | 0.80004 | 0.19996 | 2.2285 | 0 | 0 | 0 | 0.11221 | 8.0003 | 1.9996
2010-11-02 | 1.0171 | 0 | 1.0171 | 10.497 | 1.9596 | 12.4566 | 0.39922 | 0.0038984 | 0.017015 | 9.25 | 2.0001 | 0.82221 | 0.17779 | 1.8156 | 6.1639e-05 | 0.19399 | 0 | 0.059613 | 9.2499 | 2.0001
2010-11-03 | 1.1505 | 0 | 1.1505 | 11.4098 | 2.6012 | 14.0111 | 0.39904 | 0.0056796 | 0.01699 | 10.4248 | 2.5639 | 0.80261 | 0.19739 | 2.1 | 0.22592 | 0.082549 | 0 | 0.085897 | 10.2435 | 2.5193
2010-11-04 | 1.2331 | 0 | 1.2331 | 12.0606 | 2.9537 | 15.0143 | 0.39916 | 0.0037292 | 0.016937 | 10.9991 | 3.0004 | 0.78568 | 0.21432 | 2.8742 | 0.43232 | 0 | 0 | 0.096316 | 10.6595 | 2.9077
2010-11-05 | 1.2325 | 0 | 1.2325 | 12.0542 | 2.9444 | 14.9986 | 0.39897 | 0.0037721 | 0.016935 | 10.9995 | 2.9998 | 0.78572 | 0.21428 | 3.2006 | 0 | 0 | 0 | 0.088412 | 10.9995 | 2.9998
2010-11-06 | 1.1623 | 0 | 1.1623 | 11.1214 | 2.953 | 14.0744 | 0.39977 | 0.0039524 | 0.016976 | 10.1224 | 2.9999 | 0.77139 | 0.22861 | 3.2003 | 0 | 0 | 0 | 0.12453 | 10.1224 | 2.9999
2010-11-07 | 1.0551 | 0 | 1.0551 | 9.9394 | 2.9703 | 12.9097 | 0.39899 | 0.0037351 | 0.016991 | 8.9989 | 3.0002 | 0.74996 | 0.25004 | 3.2007 | 0 | 0 | 0 | 0.098219 | 8.9989 | 3.0002
2010-11-08 | 1.0641 | 0 | 1.0641 | 9.9577 | 2.9546 | 12.9123 | 0.39959 | 0.005372 | 0.016964 | 8.9989 | 2.9997 | 0.75 | 0.25 | 3.2055 | 0.33671 | 0 | 0.023665 | 0.073634 | 8.7463 | 2.8919
2010-11-09 | 1.054 | 0 | 1.054 | 9.9428 | 2.9587 | 12.9015 | 0.39623 | 0.0029936 | 0.016945 | 8.9999 | 3.0002 | 0.74999 | 0.25001 | 3.1999 | 0.18721 | 0 | 0 | 0.0091936 | 8.8595 | 2.9534
2010-11-10 | 1.0632 | 0 | 1.0632 | 10.1912 | 2.9597 | 13.1509 | 0.39571 | 0.002751 | 0.016917 | 8.9995 | 3.0002 | 0.74998 | 0.25002 | 3.1994 | 0.31415 | 0.17636 | 0 | 0.10346 | 8.7639 | 2.9217
2010-11-11 | 0.98427 | 0 | 0.98427 | 9.2383 | 2.7711 | 12.0094 | 0.39596 | 0.002686 | 0.01697 | 8.2456 | 2.8134 | 0.7456 | 0.2544 | 3.1759 | 0 | 0 | 0 | 0.22772 | 8.2456 | 2.8134
2010-11-12 | 0.78256 | 0 | 0.78256 | 7.6114 | 1.9498 | 9.5612 | 0.39677 | 0.0026744 | 0.016916 | 6.6469 | 2 | 0.7687 | 0.2313 | 2.2003 | 0.31047 | 0.066148 | 0 | 0.18373 | 6.4082 | 1.9282
2010-11-13 | 0.88669 | 0 | 0.88669 | 8.9202 | 1.9577 | 10.8779 | 0.39607 | 0.0028647 | 0.016965 | 7.9997 | 1.9069 | 0.80751 | 0.19249 | 2.2002 | 0.23602 | 0.094084 | 0 | 0.20012 | 7.8091 | 1.8615
2010-11-14 | 0.89861 | 0 | 0.89861 | 8.9293 | 1.9451 | 10.8744 | 0.39545 | 0.0016141 | 0.016934 | 8.0003 | 1.9999 | 0.80001 | 0.19999 | 2.1999 | 0 | 0 | 0 | 0.19354 | 8.0003 | 1.9999
2010-11-15 | 0.94409 | 0 | 0.94409 | 9.001 | 2.4582 | 11.4591 | 0.39416 | 0.0014646 | 0.016866 | 7.9999 | 2.4939 | 0.76235 | 0.23765 | 2.1996 | 0.22778 | 0 | 0 | 0.18686 | 7.8263 | 2.4397
2010-11-16 | 0.48657 | 0.21369 | 0.70026 | 9.3789 | 2.9684 | 12.3473 | 0.39309 | 0.0014285 | 0.016868 | 8.6661 | 3.0001 | 0.74284 | 0.25716 | 3.0656 | 0 | 0 | 0 | 0.18629 | 8.6661 | 3.0001
2010-11-17 | 0.0030728 | 0.60419 | 0.60726 | 9.4312 | 3.0461 | 12.4773 | 0.31351 | 0.0010118 | 0.01681 | 8.9996 | 2.4917 | 0.78316 | 0.21684 | 3.2004 | 0.23872 | 0.56297 | 0 | 0.21334 | 8.8126 | 2.44
2010-11-18 | 0.0029106 | 0.57701 | 0.57992 | 9.3963 | 2.9275 | 12.3238 | 0.27734 | 0.0011617 | 0.016963 | 9.0004 | 2.2565 | 0.79955 | 0.20045 | 3.1995 | 0 | 0.74598 | 0 | 0.1696 | 9.0004 | 2.2565
2010-11-19 | 0.0030492 | 0.59923 | 0.60227 | 9.5748 | 2.957 | 12.5319 | 0.28046 | 0.0015859 | 0.016714 | 9.0029 | 3.0002 | 0.75005 | 0.24995 | 3.2 | 0.32005 | 0.20416 | 0 | 0.16611 | 8.7629 | 2.9202
2010-11-20 | 0.0028578 | 0.56045 | 0.5633 | 8.5351 | 2.9522 | 11.4873 | 0.27557 | 0.00018307 | 0.016716 | 8.2558 | 2.9999 | 0.73348 | 0.26652 | 3.1992 | 0 | 0 | 0 | 0.086743 | 8.2558 | 2.9999
2010-11-21 | 0.0025549 | 0.50735 | 0.50991 | 7.808 | 2.9491 | 10.7571 | 0.27801 | 0.00048865 | 0.016775 | 7.5007 | 2.9994 | 0.71434 | 0.28566 | 3.2 | 0 | 0 | 0 | 0.095608 | 7.5007 | 2.9994
2010-11-22 | 0.0028527 | 0.5126 | 0.51545 | 7.7978 | 2.9524 | 10.7502 | 0.27494 | 0.0007208 | 0.016703 | 7.4995 | 2.9999 | 0.71428 | 0.28572 | 3.2004 | 0 | 0 | 0 | 0.089387 | 7.4995 | 2.9999
2010-11-23 | 0.0028822 | 0.51415 | 0.51703 | 7.7625 | 2.9736 | 10.7361 | 0.24754 | 0.00059494 | 0.016815 | 7.5001 | 3.0006 | 0.71425 | 0.28575 | 3.2001 | 0 | 0 | 0 | 0.086003 | 7.5001 | 3.0006
2010-11-24 | 0.0030645 | 0.51803 | 0.5211 | 7.7519 | 2.9372 | 10.6891 | 0.22773 | 0.00017529 | 0.016756 | 7.4997 | 3.0002 | 0.71427 | 0.28573 | 3.1432 | 2.9001e-05 | 0 | 0 | 0.086635 | 7.4997 | 3.0002
2010-11-25 | 0.0015727 | 0.49727 | 0.49884 | 7.7711 | 2.9476 | 10.7187 | 0.25166 | 0.00015415 | 0.016762 | 7.4997 | 3.0001 | 0.71427 | 0.28573 | 3.1998 | 0 | 0 | 0 | 0.082652 | 7.4997 | 3.0001
2010-11-26 | 0.0010368 | 0.49826 | 0.4993 | 7.7699 | 2.9272 | 10.6972 | 0.24467 | 0.00016279 | 0.01677 | 7.5006 | 2.9997 | 0.71433 | 0.28567 | 3.1998 | 0 | 0 | 0 | 0.0824 | 7.5006 | 2.9997
2010-11-27 | 0.0014982 | 0.52256 | 0.52406 | 8.0606 | 2.9467 | 11.0074 | 0.25027 | 0.000857 | 0.016725 | 7.648 | 2.9999 | 0.71826 | 0.28174 | 3.2 | 0.31493 | 0.13786 | 0 | 0.087223 | 7.4218 | 2.9112
2010-11-28 | 0.0021501 | 0.52859 | 0.53074 | 8.2587 | 2.9686 | 11.2273 | 0.24915 | 0.0031896 | 0.016775 | 8.0011 | 3.0005 | 0.72727 | 0.27273 | 3.1999 | 0 | 0 | 0 | 0.079968 | 8.0011 | 3.0005
2010-11-29 | 0.0024773 | 0.5333 | 0.53578 | 8.4245 | 2.9978 | 11.4223 | 0.25976 | 0.0075155 | 0.016676 | 8.1417 | 2.9107 | 0.73665 | 0.26335 | 3.2003 | 0 | 0.089602 | 0 | 0.082092 | 8.1417 | 2.9107
2010-11-30 | 0.0024004 | 0.4964 | 0.4988 | 7.7778 | 2.5971 | 10.375 | 0.23023 | 0.015146 | 0.016721 | 7.5363 | 2.6024 | 0.74332 | 0.25668 | 2.81 | 0.18866 | 0 | 0.023822 | 0.094269 | 7.3961 | 2.5302
Month Avg | 0.53156 | 0.2561 | 0.78766 | 9.1773 | 2.7449 | 11.9222 | 0.33401 | 0.0028412 | 0.016862 | 8.4979 | 2.7347 | 0.75573 | 0.24427 | 2.9206 | 0.1111 | 0.078457 | 0.0015829 | 0.11773 | 8.4131 | 2.7068
Month Total | 15.9467 | 7.6831 | 23.6297 | 275.3201 | 82.346 | 357.6661 | 10.0204 | 0.085236 | 0.50587 | 254.938 | 82.04 | 22.672 | 7.328 | 87.6189 | 3.333 | 2.3537 | 0.047487 | 3.5318 | 252.392 | 81.2054
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.

## December
2010-12-08 |  | BWPF Monthly Static Data Flow Total Report
| Recycle Flows |  |  | Gross Plant Influent Flows |  |  | Sludge Flows |  | NaOH Motive Water | Gross Filter Production |  | Flow Calculated Blend Ratios |  | Adsorber Production | Filter Backwash and Waste Flows |  |  | Flows to CCB
Date | Recycle to AR (MG) | Recycle to SP (MG) | Total Recycle (MG) | Gross AR to Process (MG) | Gross SP to Process (MG) | Total Gross to Process (MG) | Floc-Sed Sludge (MG) | Softening Sludge (MG) | W1, SH Motive Water (MG) | AR Filter Effluent Flow (MG) | SP Filter Effluent Flow (MG) | AR/Total Blend Ratio | SP/Total Blend Ratio | Adsorber Flow (MG) | Total Backwash Flow (MG) | Total Filter to Waste (MG) | Total Adsorber to Waste (MG) | Eductor & Motive to CCB (MG) | AR Net to Distribution (MG) | SP Net to Distribution (MG)
2010-12-01 | -0.00013892 | 0.38143 | 0.38129 | 6.2257 | 1.979 | 8.2047 | 0.21493 | 0.003055 | 0.016742 | 6.0003 | 1.9997 | 0.75004 | 0.24996 | 2.2105 | 0 | 0 | 0 | 0.027075 | 6.0003 | 1.9997
2010-12-02 | -0.00021313 | 0.37495 | 0.37474 | 6.2242 | 2.0077 | 8.2319 | 0.21697 | 0.0035376 | 0.016691 | 6.0005 | 1.9999 | 0.75003 | 0.24997 | 2.213 | 0.18678 | 0 | 0 | 0.035049 | 5.8604 | 1.9532
2010-12-03 | 0.00016538 | 0.37903 | 0.3792 | 6.5738 | 1.9857 | 8.5595 | 0.21734 | 0.0030451 | 0.016757 | 6.3469 | 1.8792 | 0.77155 | 0.22845 | 2.2129 | 0.27621 | 0.11909 | 0 | 0.040178 | 6.1338 | 1.8161
2010-12-04 | -1.036e-05 | 0.36439 | 0.36438 | 6.7248 | 2.011 | 8.7357 | 0.21412 | 0.002991 | 0.016686 | 6.4997 | 2 | 0.7647 | 0.2353 | 2.2124 | 0 | 0 | 0 | 0.030253 | 6.4997 | 2
2010-12-05 | 0.00038713 | 0.35994 | 0.36033 | 6.7335 | 1.9962 | 8.7297 | 0.22471 | 0.0029877 | 0.016706 | 6.5003 | 2 | 0.76472 | 0.23528 | 2.2114 | 0 | 0 | 0 | 0.027151 | 6.5003 | 2
2010-12-06 | 0.0011604 | 0.38672 | 0.38788 | 7.4372 | 2.0166 | 9.4538 | 0.22345 | 0.0045579 | 0.019713 | 6.9862 | 1.9998 | 0.77745 | 0.22255 | 2.2093 | 0 | 0.17701 | 0 | 0.029215 | 6.9862 | 1.9998
2010-12-07 | 0.00053088 | 0.11759 | 0.11812 | 8.3217 | 1.752 | 10.0738 | 0.2175 | 0.0019942 | 0.024549 | 7.9952 | 1.0516 | 0.88376 | 0.11624 | 2.2061 | 0.33875 | 0.073157 | 0 | 0.11907 | 7.6958 | 1.0122
2010-12-08 | 0.0013743 | 0.29456 | 0.29593 | 6.8121 | 2.1918 | 9.0038 | 0.2243 | 0.12004 | 0.015382 | 6.5005 | 2.0004 | 0.76468 | 0.23532 | 2.2099 | 0 | 0 | 0 | 0.070828 | 6.5005 | 2.0004
2010-12-09 | 0.0018918 | 0.41872 | 0.42061 | 6.7994 | 1.9802 | 8.7796 | 0.22009 | 0.10585 | 0.015336 | 6.4997 | 2 | 0.7647 | 0.2353 | 2.2096 | 0 | 0 | 0 | 0.079596 | 6.4997 | 2
2010-12-10 | 0.0028703 | 0.43497 | 0.43784 | 6.8066 | 1.9768 | 8.7834 | 0.22638 | 0.0013883 | 0.015205 | 6.5001 | 2 | 0.76471 | 0.23529 | 2.2102 | 0.39565 | 0.0005525 | 0 | 0.076274 | 6.1976 | 1.9069
2010-12-11 | 0.0031782 | 0.41966 | 0.42284 | 6.8112 | 1.9717 | 8.7829 | 0.21797 | 0.00049905 | 0.015013 | 6.4997 | 2 | 0.76469 | 0.23531 | 2.2092 | 0 | 0 | 0 | 0.078608 | 6.4997 | 2
2010-12-12 | 0.0027348 | 0.41336 | 0.4161 | 6.8084 | 1.9696 | 8.778 | 0.22649 | 0.000435 | 0.015037 | 6.4995 | 1.9999 | 0.7647 | 0.2353 | 2.2079 | 0 | 0 | 0 | 0.069504 | 6.4995 | 1.9999
2010-12-13 | 0.0023581 | 0.41141 | 0.41377 | 6.8087 | 1.9847 | 8.7933 | 0.2181 | 0.00042947 | 0.014911 | 6.4997 | 2.0002 | 0.76468 | 0.23532 | 2.2083 | 0 | 0 | 0 | 0.071991 | 6.4997 | 2.0002
2010-12-14 | 0.0021727 | 0.41001 | 0.41218 | 6.8063 | 1.9832 | 8.7895 | 0.22413 | 0.0005108 | 0.014807 | 6.5003 | 2.0004 | 0.76468 | 0.23532 | 2.2098 | 0 | 0 | 0 | 0.073208 | 6.5003 | 2.0004
2010-12-15 | 0.00081058 | 0.43941 | 0.44022 | 6.9801 | 1.9703 | 8.9504 | 0.21749 | 0.039643 | 0.014855 | 6.5046 | 2 | 0.76483 | 0.23517 | 2.21 | 0.39991 | 0.16029 | 0 | 0.09168 | 6.1987 | 1.9059
2010-12-16 | -0.0001808 | 0.41773 | 0.41755 | 6.8106 | 1.9698 | 8.7803 | 0.22134 | 0.00039354 | 0.014778 | 6.5001 | 1.9999 | 0.76471 | 0.23529 | 2.2097 | 0 | 0 | 0 | 0.077767 | 6.5001 | 1.9999
2010-12-17 | -0.00047664 | 0.41734 | 0.41686 | 6.7963 | 1.9672 | 8.7635 | 0.20471 | 0.0005136 | 0.014741 | 6.4997 | 2.0002 | 0.76468 | 0.23532 | 2.2089 | 0 | 0 | 0 | 0.077335 | 6.4997 | 2.0002
2010-12-18 | -0.00041286 | 0.4184 | 0.41799 | 6.7819 | 1.9662 | 8.748 | 0.18984 | 0.00077142 | 0.014769 | 6.4999 | 2.0002 | 0.76468 | 0.23532 | 2.1947 | 0.17728 | 0 | 0.016588 | 0.080534 | 6.3643 | 1.9419
2010-12-19 | -0.00049613 | 0.40825 | 0.40776 | 6.7787 | 1.9695 | 8.7482 | 0.1872 | 0.00074266 | 0.014738 | 6.5 | 1.9999 | 0.76471 | 0.23529 | 2.2233 | 0 | 0 | 0 | 0.07806 | 6.5 | 1.9999
2010-12-20 | -0.00034634 | 0.41896 | 0.41861 | 6.7511 | 1.971 | 8.7221 | 0.18947 | 0.14069 | 0.014729 | 6.4998 | 2.0001 | 0.76469 | 0.23531 | 2.2329 | 0 | 0 | 0 | 0.078827 | 6.4998 | 2.0001
2010-12-21 | -0.00013312 | 0.42312 | 0.42298 | 6.751 | 1.972 | 8.7231 | 0.18568 | 0.0030484 | 0.014671 | 6.5004 | 1.9375 | 0.77038 | 0.22962 | 2.233 | 0.26053 | 0.062851 | 0 | 0.07906 | 6.2997 | 1.8777
2010-12-22 | -0.0002633 | 0.42748 | 0.42722 | 6.7496 | 1.9836 | 8.7332 | 0.18805 | 0.0039211 | 0.014572 | 6.5002 | 2.0001 | 0.76471 | 0.23529 | 2.1465 | 0 | 0 | 0.049632 | 0.09153 | 6.5002 | 1.9504
2010-12-23 | -0.00058937 | 0.42833 | 0.42774 | 6.7502 | 1.973 | 8.7232 | 0.19245 | 0.008335 | 0.014662 | 6.5002 | 1.9998 | 0.76473 | 0.23527 | 2.1998 | 0.20119 | 0 | 0 | 0.08338 | 6.3463 | 1.9525
2010-12-24 | -0.00075856 | 0.42038 | 0.41962 | 6.7515 | 1.9736 | 8.7251 | 0.18415 | 0.0032367 | 0.014573 | 6.5001 | 1.9999 | 0.76472 | 0.23528 | 2.1998 | 0 | 0 | 0 | 0.081592 | 6.5001 | 1.9999
2010-12-25 | -0.00066578 | 0.40952 | 0.40886 | 6.7488 | 1.9729 | 8.7217 | 0.18645 | 0.0034746 | 0.014498 | 6.5003 | 2.0001 | 0.7647 | 0.2353 | 2.1997 | 0 | 0 | 0 | 0.079954 | 6.5003 | 2.0001
2010-12-26 | -0.00054422 | 0.40257 | 0.40203 | 6.7499 | 1.9766 | 8.7265 | 0.19105 | 0.0042385 | 0.014509 | 6.4999 | 1.9998 | 0.76472 | 0.23528 | 2.1997 | 0 | 0 | 0 | 0.080047 | 6.4999 | 1.9998
2010-12-27 | -5.8855e-05 | 0.42804 | 0.42798 | 6.8563 | 1.9775 | 8.8338 | 0.1859 | 0.011663 | 0.014456 | 6.4997 | 2.0004 | 0.76466 | 0.23534 | 2.2002 | 0.32764 | 0.15012 | 0 | 0.042326 | 6.2492 | 1.9233
2010-12-28 | -0.00019857 | 0.42236 | 0.42216 | 6.7113 | 1.9843 | 8.6956 | 0.1879 | 0.010314 | 0.014448 | 6.5001 | 2 | 0.76471 | 0.23529 | 2.1999 | 0 | 0 | 0 | 0.029099 | 6.5001 | 2
2010-12-29 | -0.00031883 | 0.4181 | 0.41778 | 6.7064 | 1.9831 | 8.6895 | 0.1847 | 0.009132 | 0.014458 | 6.4328 | 1.9994 | 0.76289 | 0.23711 | 2.2001 | 0 | 0.066742 | 0 | 0.032092 | 6.4328 | 1.9994
2010-12-30 | 0.00034358 | 0.41198 | 0.41232 | 6.7065 | 1.9839 | 8.6904 | 0.19122 | 0.0074551 | 0.014404 | 6.4998 | 1.9999 | 0.76471 | 0.23529 | 2.1996 | 0 | 0 | 0 | 0.026411 | 6.4998 | 1.9999
2010-12-31 | 0.00049963 | 0.43357 | 0.43407 | 6.7264 | 1.9804 | 8.7069 | 0.20507 | 0.0071154 | 0.014432 | 6.5011 | 1.9997 | 0.76476 | 0.23524 | 2.1993 | 0 | 0 | 0 | 0.025969 | 6.5011 | 1.9997
Month Avg | 0.00047329 | 0.39717 | 0.39764 | 6.8065 | 1.98 | 8.7865 | 0.20578 | 0.016323 | 0.015543 | 6.5248 | 1.9635 | 0.76836 | 0.23164 | 2.2064 | 0.082708 | 0.026123 | 0.0021361 | 0.063344 | 6.4602 | 1.9432
Month Total | 0.014672 | 12.3123 | 12.3269 | 211.0002 | 61.3809 | 272.3811 | 6.3792 | 0.50601 | 0.48183 | 202.2673 | 60.8679 | 23.8191 | 7.1809 | 68.3975 | 2.5639 | 0.80982 | 0.06622 | 1.9637 | 200.2656 | 60.2394
Note on K5: jamoore: Total in-service filter production flow. Excludes filter to waste flow.
Note on E6: Peter Bong: Includes Recycle
Note on F6: Peter Bong: Includes Recycle
Note on G6: jamoore: All combined flows to be treated.
Note on P6: jamoore: Includes filter and adsorber backwash flow.
Note on S6: jamoore: Flows resulting from W3 chlorine eductor flow and W1 sodium hydroxide motive flow.
Note on T6: jamoore: Gross filter flow adjusted for backwash flow consumption.
Note on U6: jamoore: Gross filter flow adjusted for backwash flow consumption.