## Sheet1
Country | Location | State/Region | Location type | Latitude | Longitude | Project name | Capacity (m3/d) | Capacity (MGD) | Feedwater salinity | Specific Energy Consumption (kWh/m^3) | RO Membrane Type | RO Energy Recovery | RO System | Water price (USD/m3) | EPC price | Customer type | RO Pre Treament 1st Stage | RO Pre Treament 2nd Stage | RO Pre Treament 3rd Stage | RO Pre Treament 4th Stage | RO Pre Treament 5th Stage | Feedwater
Algeria | Skikda |  | Land based | 36.8792 | 6.9067 | Skikda | 100000 | 26.42 | 39332 | 3.56 |  | Pressure Exchanger | Single Pass | 0.74 | 110,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Multi-media filtration (MMF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Bahamas | Nassau |  | Land based | 25.0647 | -77.3665 | Blue Hills | 27255 | 7.2 | 37500 | 3.17 | Spiral Wound Membrane | Calder Dual Work Energy Exchange | Single Pass | 1.34 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Dhekelia |  | Land based | 34.9833 | 33.725 | Dhekelia 1-2 | 40000 | 10.57 | 42000 | 5.3 | Hollow Fibre Membrane |  | Single Pass | 1.03 | 22,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dual Media Filtration | Anti Scaling Inhibition | Coagulation-Flocculation |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Larnaca |  | Land based | 34.8689 | 33.6308 | Larnaca | 54000 | 14.27 | 40300 | 4.52 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.76 | 45,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dual Media Filtration | Microfiltration |  |  | Seawater (TDS 20000ppm - 50000ppm)
India | Minjur | Tamil Nadu | Land based | 13.2667 | 80.2667 | Chennai - Minjur | 100000 | 26.42 | 37100 | 2.9 | Spiral Wound Membrane |  | Single Pass | 1.035 | 129,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Disinfection | Acidification | Coagulation-Flocculation | Sedimentation | Single Stage Sand Filtration | Seawater (TDS 20000ppm - 50000ppm)
Israel | Ashkelon |  | Land based | 31.6375 | 34.5256 | Ashkelon | 330000 | 87.19 | 40680 | 3.45 | Spiral Wound Membrane | Pressure Exchanger | Two Pass | 0.53 | 118,700,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Dual Media Filtration | Inline Coagulation-Flocculation |  |  | Seawater (TDS 20000ppm - 50000ppm)
Japan | Fukuoka |  | Land based | 33.5833 | 130.4 | Fukuoka | 59940 | 15.84 | 35000 | 5.5 | Hollow Fibre Membrane | Pressure Exchanger | Two Pass | 1.84 | 200,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Tuas |  | Land based | 1.3064 | 103.6239 | Tuas I (SingSpring) | 136000 | 35.93 | 35000 | 4.34 | Spiral Wound Membrane | Work Exchanger | Two Pass | 0.57 | 116,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Inline Coagulation-Flocculation | Dual Media Filtration | Dissolved Air Flotion (DAF) |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Ulu Pandan |  | Land based | 1.3193 | 103.7721 | Ulu Pandan | 148000 | 39.1 | 2000 | 1 |  | Turbo Charger | Single Pass | 0.71 | 200,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Microfiltration |  |  |  |  | Wastewater
Spain | Almeria |  | Land based | 36.8333 | -2.45 | Carboneras | 120000 | 31.7 | 38000 | 4.08 |  | Turbo Charger | Two Pass | 0.57 | 107,900,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Trinidad and Tobago | Point Lisas |  | Land based | 10.3914 | -61.4767 | Point Lisas | 100014 | 26.42 | 29000 | 3.8 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.71 | 120,000,000 USD | Industry (TDS <10ppm) | Coagulation-Flocculation | Sedimentation | Single Stage Sand Filtration |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Carlsbad | California | Land based | 33.1373 | -117.3319 | Carlsbad Desalination Plant | 189270 | 50.01 | 34000 | 3.3 |  | Pressure Exchanger | Two Pass | 1.61 | 530,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  | Microfiltration |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | El Paso | Texas | Land based | 31.8041 | -106.3271 | Kay Bailey Hutchinson Facility | 104087 | 27.5 | 2500 | 1.8 | Spiral Wound Membrane |  | Single Pass | 0.41 | 87,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Acidification | Anti Scaling Inhibition |  |  |  | Brackish water or inland water (TDS 3000ppm - <20000ppm)
Australia | Kwinana | Western Australia | Land based | -32.2034 | 115.7755 | Kwinana | 143700 | 37.97 | 35000 | 3.9 | Spiral Wound Membrane |  | Two Pass | 1.23 | 347,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Acidification | Coagulation-Flocculation |  |  | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Orán |  | Land based | 35.6911 | -0.64167 | Magtaa | 500000 | 132.1 |  | 3.9 | Spiral Wound Membrane | Turbo Charger |  | 0.56 | 443,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Gold Coast | Queensland | Land based | -28 | 153.4333 | Tugun (Gold Coast) | 133000 | 35.14 | 38000 | 3.6 |  | Calder Dual Work Energy Exchange | Two Pass | 2.46 | 838,100,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Acidification | Coagulation-Flocculation | Dual Media Filtration |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Sydney | New South Wales | Land based | -33.8678 | 151.2073 | Sydney Desalination Plant (Kurnell) | 250000 | 66.05 |  | 4.2 | Spiral Wound Membrane | Calder Dual Work Energy Exchange | Two Pass | 2.06 | 864,500,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Multi-media filtration (MMF) |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Fountain Valley | California | Land based | 33.709 | -117.9544 | Orange County Groundwater Replenishment (GWR) System | 272520 | 72 | 1000 | 2 |  | Energy Recovery | Single Pass | 0.42 |  | Water injection | Microfiltration |  |  |  |  | Wastewater
Morocco | Agadir |  | Land based | 30.4 | -9.6 | Agadir | 275000 | 72.66 | 31000 | 3.67 |  |  |  | 0.52 | 120,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Hadera Desalination Plant |  | Land based | 32.4656 | 34.885 | Hadera | 368000 | 97.23 | 38000 | 4.5 | Spiral Wound Membrane | Pressure Exchanger | Single Pass | 0.57 | 425,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Tampa Bay | Florida | Land based | 27.7029 | -82.5835 | Tampa Bay | 108831 | 28.75 | 32000 | 3 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.657 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Single Stage Sand Filtration | Coagulation-Flocculation |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Tuas |  | Land based | 1.3064 | 103.6239 | Tuaspring (Tuas II) | 318500 | 84.15 |  | 4 |  | Work Exchanger | Two Pass | 0.36 | 702,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Mirfa | Abu Dhabi | Land based | 24.0911 | 53.4947 | Mirfa IWPP, Abu Dhabi | 140000 | 36.99 |  | 3.55 |  | ERI | Two Pass | 0.73 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)