## Sheet1
Country | Location | State/Region | Location type | Latitude | Longitude | Project name | Capacity (m3/d) | Capacity (MGD) | Feedwater salinity | Specific Energy Consumption (kW/m^3) | RO Membrane Type | RO Energy Recovery | RO System | Water price (USD/m3) | EPC price | Customer type | RO Pre Treament 1st Stage | RO Pre Treament 2nd Stage | RO Pre Treament 3rd Stage | RO Pre Treament 4th Stage | RO Pre Treament 5th Stage | Feedwater
United Arab Emirates | Qidfa | Al Fujairah | Land based | 25.3 | 56.3583 | Al Fujairah 2 (RO) | 136260 | 36 | 39000 |  |  | Turbo Charger |  | 0.6 | 900,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dissolved Air Flotion (DAF) | Single Stage Sand Filtration |  |  | Seawater (TDS 20000ppm - 50000ppm)
Algeria | El Hamma |  | Land based | 36.5694 | 4.3094 | El Hamma | 200000 | 52.84 | 40000 |  | Spiral Wound Membrane | Pressure Exchanger | Single Pass | 0.82 | 270,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Skikda |  | Land based | 36.8792 | 6.9067 | Skikda | 100000 | 26.42 | 39332 | 3.56 |  | Pressure Exchanger | Single Pass | 0.74 | 110,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Multi-media filtration (MMF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Cap Djinet |  | Land based | 36.8756 | 3.7169 | Cap Djinet | 100000 | 26.42 | 38500 |  |  | Pressure Exchanger |  | 0.73 | 133,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Tipasa |  | Land based | 36.5897 | 2.4475 | Fouka | 120000 | 31.7 | [5 empty] | 0.75 | 185,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Algeria |  |  | Land based | 36.0084 | 0.11967 | Mostaganem | 200000 | 52.84 | 38500 |  | Spiral Wound Membrane | Pressure Exchanger | Single Pass | 0.72 | 98,400,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Acidification | Dual Media Filtration | Inline Coagulation-Flocculation | Anti Scaling Inhibition | Microfiltration | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Tenes |  | Land based | 36.5093 | 1.3094 | Tenes | 200000 | 52.84 |  |  |  | Pressure Exchanger | Single Pass | 0.59 | 231,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Bahamas | Nassau |  | Land based | 25.0647 | -77.3665 | Blue Hills | 27255 | 7.2 | 37500 | 3.17 | Spiral Wound Membrane | Calder Dual Work Energy Exchange | Single Pass | 1.34 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
China | Tianjin | Tianjin | Land based | 39.1422 | 117.1767 | Tianjin Dagang | 100000 | 26.42 | [5 empty] | 0.95 | 720,000,000 USD | Industry (TDS <10ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Dhekelia |  | Land based | 34.9833 | 33.725 | Dhekelia 1-2 | 40000 | 10.57 | 42000 | 5.3 | Hollow Fibre Membrane |  | Single Pass | 1.03 | 22,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dual Media Filtration | Anti Scaling Inhibition | Coagulation-Flocculation |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Larnaca |  | Land based | 34.8689 | 33.6308 | Larnaca | 54000 | 14.27 | 40300 | 4.52 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.76 | 45,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Coagulation-Flocculation | Dual Media Filtration | Microfiltration |  |  | Seawater (TDS 20000ppm - 50000ppm)
India | Minjur | Tamil Nadu | Land based | 13.2667 | 80.2667 | Chennai - Minjur | 100000 | 26.42 | 37100 | 2.9 | Spiral Wound Membrane |  | Single Pass | 1.035 | 129,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Disinfection | Acidification | Coagulation-Flocculation | Sedimentation | Single Stage Sand Filtration | Seawater (TDS 20000ppm - 50000ppm)
Israel | Ashkelon |  | Land based | 31.6375 | 34.5256 | Ashkelon | 330000 | 87.19 | 40680 | 3.45 | Spiral Wound Membrane | Pressure Exchanger | Two Pass | 0.53 | 118,700,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Dual Media Filtration | Inline Coagulation-Flocculation |  |  | Seawater (TDS 20000ppm - 50000ppm)
Japan | Fukuoka |  | Land based | 33.5833 | 130.4 | Fukuoka | 59940 | 15.84 | 35000 | 5.5 | Hollow Fibre Membrane | Pressure Exchanger | Two Pass | 1.84 | 200,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Tuas |  | Land based | 1.3064 | 103.6239 | Tuas I (SingSpring) | 136000 | 35.93 | 35000 | 4.34 | Spiral Wound Membrane | Work Exchanger | Two Pass | 0.57 | 116,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Inline Coagulation-Flocculation | Dual Media Filtration | Dissolved Air Flotion (DAF) |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Ulu Pandan |  | Land based | 1.3193 | 103.7721 | Ulu Pandan | 148000 | 39.1 | 2000 | 1 |  | Turbo Charger | Single Pass | 0.71 | 200,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Microfiltration |  |  |  |  | Wastewater
Spain | Almeria |  | Land based | 36.8333 | -2.45 | Carboneras | 120000 | 31.7 | 38000 | 4.08 |  | Turbo Charger | Two Pass | 0.57 | 107,900,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Trinidad and Tobago | Point Lisas |  | Land based | 10.3914 | -61.4767 | Point Lisas | 100014 | 26.42 | 29000 | 3.8 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.71 | 120,000,000 USD | Industry (TDS <10ppm) | Coagulation-Flocculation | Sedimentation | Single Stage Sand Filtration |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Carlsbad | California | Land based | 33.1373 | -117.3319 | Carlsbad Desalination Plant | 189270 | 50.01 | 34000 | 3.3 |  | Pressure Exchanger | Two Pass | 1.61 | 530,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  | Microfiltration |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Santa Barbara | California | Land based | 34.4193 | -119.6856 | Charles Meyer Desalination Plant, Santa Barbara | 26100 | 6.9 |  |  | Spiral Wound Membrane |  | Single Pass | 1.55 | 34,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
United States | Dighton | Kansas | Land based | 38.482 | -100.4671 | Dighton | 18900 | 4.99 |  |  | Spiral Wound Membrane |  | Single Pass | 1.53 | 12,880,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Brackish water or inland water (TDS 3000ppm - <20000ppm)
United States | El Paso | Texas | Land based | 31.8041 | -106.3271 | Kay Bailey Hutchinson Facility | 104087 | 27.5 | 2500 | 1.8 | Spiral Wound Membrane |  | Single Pass | 0.41 | 87,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Acidification | Anti Scaling Inhibition |  |  |  | Brackish water or inland water (TDS 3000ppm - <20000ppm)
Algeria | Beni Saf |  | Land based | 35.3036 | -1.3808 | Beni Saf | 200000 | 52.84 | 39000 |  |  |  |  | 0.6994 | 148,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Multi-media filtration (MMF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Maagan Michael |  | Land based | 32.5558 | 34.9142 | Maagan Michael | 23000 | 6.08 | [5 empty] | 0.35 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Australia | Kwinana | Western Australia | Land based | -32.2034 | 115.7755 | Kwinana | 143700 | 37.97 | 35000 | 3.9 | Spiral Wound Membrane |  | Two Pass | 1.23 | 347,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Acidification | Coagulation-Flocculation |  |  | Seawater (TDS 20000ppm - 50000ppm)
Algeria | Orán |  | Land based | 35.6911 | -0.64167 | Magtaa | 500000 | 132.1 |  | 3.9 | Spiral Wound Membrane | Turbo Charger |  | 0.56 | 443,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Malta | Malta |  | Land based | 35.9167 | 14.4333 | Malta | 40500 | 10.7 |  |  |  | Pressure Exchanger |  | 0.72 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Australia | Gold Coast | Queensland | Land based | -28 | 153.4333 | Tugun (Gold Coast) | 133000 | 35.14 | 38000 | 3.6 |  | Calder Dual Work Energy Exchange | Two Pass | 2.46 | 838,100,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Acidification | Coagulation-Flocculation | Dual Media Filtration |  |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Dhekelia |  | Land based | 34.9833 | 33.725 | Dhekelia 1-2 expansion | 20000 | 5.28 |  |  |  | Pressure Exchanger |  | 0.93 | 23,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Sydney | New South Wales | Land based | -33.8678 | 151.2073 | Sydney Desalination Plant (Kurnell) | 250000 | 66.05 |  | 4.2 | Spiral Wound Membrane | Calder Dual Work Energy Exchange | Two Pass | 2.06 | 864,500,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Multi-media filtration (MMF) |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Wonthaggi | Victoria | Land based | -38.5878 | 145.5231 | Victorian Desalination Plant | 444000 | 117.31 |  |  | Spiral Wound Membrane | Pressure Exchanger |  | 5.17 | 1,800,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Bahrain | Ad Dur IWPP |  | Land based | 25.9695 | 50.6094 | Ad Dur IWPP | 218000 | 57.6 |  |  |  | Calder Energy Recovery Turbines |  | 0.93 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Episkopi |  | Land based | 34.688 | 32.9531 | Episkopi-Limassol | 40000 | 10.57 |  |  |  | Pressure Exchanger |  | 1.24 | 45,000,000 EUR | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Paphos |  | Land based | 34.7721 | 32.4229 | Paphos | 30000 | 7.93 |  |  |  | Pressure Exchanger |  | 1.9 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
United States | Fountain Valley | California | Land based | 33.709 | -117.9544 | Orange County Groundwater Replenishment (GWR) System | 272520 | 72 | 1000 | 2 |  | Energy Recovery | Single Pass | 0.42 |  | Water injection | Microfiltration |  |  |  |  | Wastewater
India | Chennai | Tamil Nadu | Land based | 12.7037 | 80.2258 | Chennai Nemmeli | 110000 | 29.06 | 40000 |  |  | Pressure Exchanger |  | 1.1 | 97,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Tunisia | Djerba |  | Land based | 33.8 | 10.9 | Djerba | 50000 | 13.21 |  |  | Spiral Wound Membrane | Pressure Exchanger | Single Pass | 0.8 | 69,400,000 EUR | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Microfiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Adelaide | South Australia | Land based | -34.9285 | 138.6007 | Port Stanvac | 300000 | 79.26 |  |  |  | ERI |  | 1.86 | 1,374,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Ashdod |  | Land based | 31.8167 | 34.65 | Ashdod | 274000 | 72.39 |  |  |  | Pressure Exchanger | Two Pass | 0.7 | 453,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Tel Aviv |  | Land based | 32.0667 | 34.7667 | Soreq | 624000 | 164.86 |  |  | Tube Membrane | Turbo Charger |  | 0.585 | 400,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Coagulation-Flocculation |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Morocco | Agadir |  | Land based | 30.4 | -9.6 | Agadir | 275000 | 72.66 | 31000 | 3.67 |  |  |  | 0.52 | 120,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Hadera Desalination Plant |  | Land based | 32.4656 | 34.885 | Hadera | 368000 | 97.23 | 38000 | 4.5 | Spiral Wound Membrane | Pressure Exchanger | Single Pass | 0.57 | 425,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | King Abdulaziz International Airport, Jeddah |  | Land based | 21.6795 | 39.1467 | King Abdullah Aziz Airport, Jeddah | 30000 | 7.93 | 40900 |  |  | Turbo Charger | Two Pass | 0.78 | 39,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Single Stage Sand Filtration | Microfiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Australia | Perth | Western Australia | Land based | -31.9333 | 115.8333 | Southern Seawater desalination plant | 140000 | 36.99 |  |  | Spiral Wound Membrane | ERI |  | 1.9 | 592,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United States | Taunton River | Massachusetts | Land based | 41.8384 | -71.105 | Brockton | 18925 | 5 | 8000 |  | Spiral Wound Membrane |  | Single Pass | 1.53 | 56,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration | Coagulation-Flocculation | Inline Coagulation-Flocculation |  |  | Brackish water or inland water (TDS 3000ppm - <20000ppm)
United States | Tampa Bay | Florida | Land based | 27.7029 | -82.5835 | Tampa Bay | 108831 | 28.75 | 32000 | 3 | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.657 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Single Stage Sand Filtration | Coagulation-Flocculation |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Changi |  | Land based | 1.32 | 104.0031 | Changi NEWater factory | 228000 | 60.24 |  |  | Spiral Wound Membrane | Turbo Charger | Two Pass | 0.21 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Wastewater
Saudi Arabia | Shuqaiq |  | Land based | 17.7199 | 42.0287 | Shuqaiq 3 IWP | 450000 | 118.89 |  |  |  |  | Two Pass | 0.52 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Cyprus | Vasilikos |  | Land based | 34.7777 | 32.7393 | Vasilikos Power Plant | 60000 | 15.85 |  |  |  | Pressure Exchanger |  | 0.86 | 46,000,000 EUR | Industry (TDS <10ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
United States | Santa Barbara | California | Land based | 34.4193 | -119.6856 | Charles Meyer Desalination Plant refit, Santa Barbara, CA | 10475 | 2.77 |  |  |  | ERI |  | 1.08 | 44,800,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
China | Qingdao | Shandong | Land based | 36.0986 | 120.3719 | Qingdao Sea Water Desalination Plant | 100000 | 26.42 | [5 empty] | 0.885 | 175,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Ultrafiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Shoaiba |  | Land based | 20.7317 | 39.5255 | Sea Water Barge RO | 52000 | 13.74 |  |  | Spiral Wound Membrane | ERI | Two Pass | 2.27 | 108,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Dubai | Dubai | Land based | 25.2522 | 55.28 | RO Polishing Plant at Palm Jumeirah SU2 | 18000 | 4.76 |  |  |  |  | Single Pass | 0.33 |  | Tourist facilities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Wastewater
United States | Camarillo | California | Land based | 34.2164 | -119.0376 | North Pleasant Valley Water Desalter Phase 1 | 15200 | 4.02 | [5 empty] | 1.09 | 37,408,893 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Brackish water or inland water (TDS 3000ppm - <20000ppm)
U.S. Virgin Islands | WAPA, Randolph E. Harley Power Plant, Charlotte Amalie, St. Thomas |  | Land based | 18.3318 | -64.9623 | WAPA, St. Thomas | 12490 | 3.3 |  |  |  | Pressure Exchanger |  | 0.87 | 20,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Ras Al-Khair Power and Desalination Plant, Ras Al-Khair |  | Land based | 27.5375 | 49.1693 | Ras Al-Khair (RO) | 306700 | 81.03 |  |  | Dual membrane plant (HFM/SWM) | Turbo Charger |  | 0.85 | 1,760,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Israel | Hadera Desalination Plant |  | Land based | 32.4659 | 34.8923 | Hadera Extension | 88000 | 23.25 | 40233 |  |  |  |  | 0.57 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Israel | Tel Aviv |  | Land based | 32.0667 | 34.7667 | Soreq 2 | 670000 | 177.01 |  |  |  | Calder Dual Work Energy Exchange |  | 0.405 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Tuas |  | Land based | 1.3064 | 103.6239 | Tuaspring (Tuas II) | 318500 | 84.15 |  | 4 |  | Work Exchanger | Two Pass | 0.36 | 702,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Iran | Zahedan | Sīstān va Balūchestān | Land based | 29.4519 | 60.8842 | Zahedan BWRO 1-2 | 22500 | 5.94 | [5 empty] | 0.298 | 5,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Brackish water or inland water (TDS 3000ppm - <20000ppm)
Iran | Bandar Abbas | Hormozgān | Land based | 27.1832 | 56.2666 | West Bandar Abbas | 15000 | 3.96 | [5 empty] | 0.65 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Iran | Bandar-e Lengeh | Hormozgān | Land based | 26.5628 | 54.8887 | Langheh Port | 10000 | 2.64 | [5 empty] | 0.58 |  | Industry (TDS <10ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Israel | Palmachim |  | Land based | 31.9331 | 34.7072 | Palmachim expansion phases 3 and 4 | 150000 | 39.63 |  |  |  | Pelton Turbine |  | 0.56 | 300,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Ghana | Accra |  | Land based | 5.55 | -0.21667 | Teshie Nungua (Accra) | 60000 | 15.85 |  |  |  | Pressure Exchanger |  | 1.36 | 125,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Ultrafiltration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Mirfa | Abu Dhabi | Land based | 24.0911 | 53.4947 | Mirfa IWPP, Abu Dhabi | 140000 | 36.99 |  | 3.55 |  | ERI | Two Pass | 0.73 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Yanbu |  | Land based | 24.0853 | 38.0486 | Yanbu 4 IWP | 450000 | 118.89 | [5 empty] | 0.47 | 707,800,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Rabigh |  | Land based | 22.7986 | 39.0322 | Rabigh 3 IWP | 600000 | 158.52 |  |  | Hollow Fibre Membrane | ERI | Two Pass | 0.53 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dual Media Filtration | Microfiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Al Taweelah | Abu Dhabi | Land based | 24.7188 | 54.6863 | Taweelah IWP | 909000 | 240.16 |  |  |  | ERI |  | 0.49 | 870,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore | Changi |  | Land based | 1.32 | 104.0031 | Changi II NEWater plant | 228000 | 60.24 |  |  |  | Fedco |  | 0.218 | 170,000,000 SGD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Microfiltration |  |  |  |  | Wastewater
Iran | Bandar Abbas | Hormozgān | Land based | 27.1864 | 56.2772 | SAKO Desalination and power plant phase 1 | 200000 | 52.84 | [5 empty] | 0.63 | 186,000,000 USD | Industry (TDS <10ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
United States | Alice | Texas | Land based | 27.7522 | -98.0697 | Alice BWRO | 11355 | 3 | [5 empty] | 0.49 | 17,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Brackish water or inland water (TDS 3000ppm - <20000ppm)
Iran | Bandar Abbas | Hormozgān | Land based | 27.1864 | 56.2772 | SAKO Desalination and power plant phase 2 | 200000 | 52.84 | [5 empty] | 0.65 | [7 empty] | Seawater (TDS 20000ppm - 50000ppm)
Senegal | Dakar |  | Land based | 14.7645 | -17.366 | Mamelles phase 1 | 50000 | 13.21 | [5 empty] | 0.87 | [7 empty] | Seawater (TDS 20000ppm - 50000ppm)
Oman | Sohar |  | Land based | 24.342 | 56.7299 | Sohar 3 IWP | 250000 | 66.05 | [5 empty] | 0.83 | 86,000,000 OMR | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Oman | Barka |  | Land based | 23.6837 | 57.9049 | Barka 4 IWP | 281000 | 74.24 | [5 empty] | 0.75 | 314,000,000 USD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Singapore |  |  | Land based | 1.2886 | 103.8729 | Keppel Marina East SWRO Plant | 136380 | 36.03 | [5 empty] | 0.78 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Ultrafiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Umm Al Quwain | Umm Al Quwain | Land based | 25.5132 | 55.5691 | Umm al Quwain IWP | 681818 | 180.14 |  |  |  | ERI |  | 0.9158 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Iran | Bandar Abbas | Hormozgān | Land based | 27.1832 | 56.2666 | SAKO Desalination and power plant phase 3 | 200000 | 52.84 | [5 empty] | 0.5889 | 79,200,000 EUR | [6 empty] | Seawater (TDS 20000ppm - 50000ppm)
Taiwan | Kaohsiung |  | Land based | 22.5944 | 120.3527 | Fengshan reuse project | 25000 | 6.61 | [5 empty] | 0.6 | 2,600,000,000 TWD | Industry (TDS <10ppm) | Single Stage Sand Filtration | Ultrafiltration |  |  |  | Wastewater
Singapore |  |  |  | 1.276 | 103.6768 | Jurong Island desalination | 136380 | 36.03 |  |  |  |  | Two Pass | 0.67 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Ultrafiltration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Jordan | Aqaba |  | Land based | 29.5321 | 35.0063 | Aqaba | 12000 | 3.17 | [5 empty] | 1.1 | 4,000,000 JOD | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Al Jubail |  | Land based | 27.0656 | 49.6117 | Jubail 3a IWP | 600000 | 158.52 |  |  |  | ERI | Two Pass | 0.413 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) | Dual Media Filtration |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
Iran |  | Hormozgān | Land based | 27.2088 | 53.0405 | PEISEZ desalination and power plant (phase 1) | 50000 | 13.21 | [5 empty] | 1.57 |  | Industry (TDS <10ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Iran | Bandar Bushehr | Būshehr | Land based | 28.9234 | 50.8203 | Bushehr SWRO | 35000 | 9.25 | [5 empty] | 0.56 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)
Iran | Bandar Abbas | Hormozgān | Land based | 27.1832 | 56.2666 | SAKO Desalination and power plant phase 4 | 200000 | 52.84 | [5 empty] | 0.69 | 79,200,000 EUR | [6 empty] | Seawater (TDS 20000ppm - 50000ppm)
Saudi Arabia | Al Jubail |  | Land based | 27.0656 | 49.6117 | Jubail 3b IWP | 570000 | 150.59 |  |  |  |  | Two Pass | 0.42 |  | Municipalities as drinking water (TDS 10ppm - <1000ppm) | Dissolved Air Flotion (DAF) |  |  |  |  | Seawater (TDS 20000ppm - 50000ppm)
United Arab Emirates | Mirfa | Abu Dhabi | Land based | 24.0536 | 53.4122 | Mirfa 2 IWP | 545520 | 144.13 |  |  | Spiral Wound Membrane |  |  | 0.56 |  | Irrigation (TDS <1000ppm) | [5 empty] | Seawater (TDS 20000ppm - 50000ppm)