## Facilities Summary
Desalination / Water Treatment Facilities - Water Flow and Energy Usage Summary
| Unit | Tampa Bay Desalination Plant, FL | San Antonio (SAWS), TX | Alameda County Water District, CA | Kay Bailey Hutchison, TX | Millwood Water Treatment Plant, NY | Aurora (Binney Water Purification Facility), CO
Type |  | Desal | Desal | Desal | Desal | Surface WT | Surface WT
Address |  | 13041 Wyandotte Road, Gibsonton, Florida | Bexar County, San Antonio, Texas | Cherry and Central Avenue in Newark, CA | 10751 Montana Ave, El Paso, TX | 4 Station Place, Millwood, NY | 5070 S Robertsdale Way, Aurora, CO
GPS Coordinates |  | 27.799439, -82.398325 | 29.458155, -98.479944 | 37.505864, -121.960745 | 31.804710, -106.326839 | 41.184305, -73.803287 | 39.623147, -104.668341
Utility |  | TECO Tampa Electric | CPS Energy | PG&E | TXU Energy | ConEd | Xcel Energy
Net Metering | MGD | Yes |  | Yes |  | Yes
Time of Use | ? |  |  |  |  | No
Raw TDS | MG/L | [35,000] | 1250-1400 | 1111
Average Treated TDS | MG/L |  | 128 | 179
Average Treated Turbidity | NTU |  | 0.17
Permitted Max. Production Capacity | MGD | 25 |  | 10
2022 Max. Daily Water Production | MGD |  | 10.6 |  |  | 8.162
2022 Avg. Water Production | MGD | 8.1708 | #ERROR! | 6.6582 |  | #REF!
2022 Total Water Production | MG | 2982.325 | #ERROR! | 2430.24 |  | #REF! | 0
2022 Total Water Production | m3 | 11288133.99 | #ERROR! | 9198485.995 |  | #REF! | 0
2022 Total Electricity Usage | kWh | 43023680 | 5019000 | 4205916 |  | 3283862.5032 | 6081885
2022 Electricity Usage / Water Production | kWh/m3 | 3.8114 | #ERROR! | 0.45724 |  | #REF! | #DIV/0!
2022 Electricity Cost | $ | 3121471.5 | #REF! | #REF! |  | #REF!
2022 Electricity Cost / kWh | $/kWh | 0.072552 | #REF! | #REF! |  | #REF!
Storage | Gallons | 5MG | 3MG & 7.5MG tanks | 156000
Variable vs. Fixed Speed Pumps (Yes/No)
Emmisions (of Electricity Generation)
Age of Infastructure (Years) - Punps

## Data Summary
Desalination / Water Treatment Facilities - Data Summary
|  | Tampa Bay Desalination Facility, FL | San Antonio (SAWS), TX | Alameda - Newark Desalination Plant, CA | Aurora, CO | Millwood Water Treatment Plant:
Daily Electricity Usage (kWh) | Start Date | 2021-05-04
| End Date | 2023-05-30
Monthly Electricity Usage ($ & kWh) | Start Date | 2012-10-01 | 2017-01-01 | 2016-09-01 | 2010-01-01 | 2011-01-01
| End Date | 2023-05-30 | 2023-06-30 | 2023-06-30 | 2022-12-31 | 2023-06-30
Daily Water Flow (MGD) | Start Date | 2017-01-01 | 2016-11-10 | 2013-06-22 | 2010-01-01 | 2022-01-01
| End Date | 2023-05-30 | 2023-07-11 | 2023-06-21 | 2022-12-31 | 2023-06-30
Other Key Metrics |  | Raw Turbidity, Treated Turbidity, pH, Temperature, Water Flow, | Raw and treated TDS and Turbidity | TDS | Raw and treated TDS and Turbidity, Raw Flow | Raw and Treated Turbidity, Temperature, Water Flow
| Start Date | 2017-01-01 | 2016-11-10 | 2018-01-01
| End Date | 2023-05-30 | 2023-07-11 | 2023-07-24
Other Data or Reports |  |  |  | Clean Energy Plan (71 Page); considering fuel cell for backup power
Missing Data |  | Raw TDS; Site Map | Site Map | Site Map | Raw TDS, Site Map | Raw TDS, Site Map